## System_data
| Data | Description
S_base | 100 | Power base of the system [MVA]
Slack_bus | b1 | Slack bus for the simulation
N_freq | 50 | Nominal frequency of the system [Hz]
Max_D_freq | 0.5 | Maximun frequency desviation [Hz/s]
Min_freq | 49.5 | Minimum frequency of the system [Hz]
DB_freq | 0.02 | Dead band governos frequency [Hz]
Delta_1_RF | 0.001388 | Time delta of post-contingency inertia response [h]
Delta_2_RF | 0.004166 | Time delta of primary frequency response [h]
Delta_3_RF | 0.041666 | Time delta of second frequency response [h]

## Bus
Load Bus
b1 | N1
b2 | N2
b3 | N3
b4 | N4
b5 | N5
b6 | N6

## SM_Unit
| Name | Bus Name | Bus # | Fuel_Type | c | b | a | Pmin | Pmax | k1 | k2 | k3 | Min_ON | Min_OFF | Ramp_Up | Ramp_Down | IniT_ON | IniT_off | IniMW | CSU | Reservoir_name/River | Qmin | Qmax | Vmin | Vmax | Vmax_energy | Net_head | eff_turb_gen | C_hydro | Factor_conversion | Factor_V_to_E | R | H
G1 | Generador sincrono 1 | N1 | b1 | ACPM | 0 | 16.8456 | 0 | 100 | 200 | 33.3333 | 66.6667 | 100 | 3 | 3 | 55 | 55 | 0 | 4 |  | 124.69 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | 0.5 | 7
G2 | Generador sincrono 2 | N2 | b2 | ACPM | 0 | 40.6602 | 0 | 10 | 150 | 46.6667 | 93.3333 | 140 | 2 | 2 | 50 | 50 | 0 | 2 |  | 373.83 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | 0.5 | 5.5
G3 | Generador sincrono 3 | N6 | b6 | DIESEL | 0 | 22.0453 | 0 | 10 | 180 | 56.6667 | 113.3333 | 170 | 1 | 1 | 22 | 22 | 0 | 1 |  | 62.31 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0.5 | 3.5
G4 | Plata eolica | N3 | b3 | WIND | 0 | 0 | 0 | 0 | 40 | 13.3333 | 26.6667 | 40 | 0 | 0 | 1000 | 1000 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0
Note on A1: Zuyi Li: Unit name
Note on F1: $
Note on G1: fuel price (USD/MWh)
Note on H1: $/MW2h
Note on I1: Zuyi Li: Minimum real power (DEFAULT: 0; MW)
Note on J1: Zuyi Li: Maximum real power (DEFAULT: 0; MW)
Note on N1: Zuyi Li: minimum on-operation time (hour, >0)
Note on O1: Zuyi Li: maximum off-operation time (hour, >0)
Note on P1: Zuyi Li: ramping up rate (MW/hour)
Note on Q1: Zuyi Li: ramping down rate (MW/hour)
Note on R1: Zuyi Li: initial operating time (hour, >0 ON, <0 OFF)
Note on S1: Zuyi Li: initial operating time (hour, >0 ON, <0 OFF)
Note on T1: Zuyi Li: initial operating MW
Note on U1: Cost start UP en dolares
Note on Z1: Mm3
Note on AE1: MW/m3/s
Note on AG1: Usuario: Reserve capacity
Note on AH1: Usuario: Machine inertia

## SM_map
| b1 | b2 | b3 | b4 | b5 | b6
G1 | 1 | 0 | 0 | 0 | 0 | 0
G2 | 0 | 1 | 0 | 0 | 0 | 0
G3 | 0 | 0 | 0 | 0 | 0 | 1
G4 | 0 | 0 | 1 | 0 | 0 | 0

## Renewable
G4
1 | 18.39
2 | 16
3 | 10
4 | 8
5 | 17.5
6 | 10
7 | 9
8 | 5.2
9 | 6
10 | 5.5
11 | 4
12 | 3
13 | 3
14 | 0
15 | 0
16 | 0
17 | 3.5
18 | 10
19 | 14
20 | 19
21 | 14
22 | 21
23 | 15
24 | 13
25 | 18.39
26 | 16
27 | 10
28 | 8
29 | 17.5
30 | 10
31 | 9
32 | 5.2
33 | 6
34 | 5.5
35 | 4
36 | 3
37 | 3
38 | 0
39 | 0
40 | 0
41 | 3.5
42 | 10
43 | 14
44 | 19
45 | 14
46 | 21
47 | 15
48 | 13
49 | 18.39
50 | 16
51 | 10
52 | 8
53 | 17.5
54 | 10
55 | 9
56 | 5.2
57 | 6
58 | 5.5
59 | 4
60 | 3
61 | 3
62 | 0
63 | 0
64 | 0
65 | 3.5
66 | 10
67 | 14
68 | 19
69 | 14
70 | 21
71 | 15
72 | 13
73 | 18.39
74 | 16
75 | 10
76 | 8
77 | 17.5
78 | 10
79 | 9
80 | 5.2
81 | 6
82 | 5.5
83 | 4
84 | 3
85 | 3
86 | 0
87 | 0
88 | 0
89 | 3.5
90 | 10
91 | 14
92 | 19
93 | 14
94 | 21
95 | 15
96 | 13
97 | 18.39
98 | 16
99 | 10
100 | 8
101 | 17.5
102 | 10
103 | 9
104 | 5.2
105 | 6
106 | 5.5
107 | 4
108 | 3
109 | 3
110 | 0
111 | 0
112 | 0
113 | 3.5
114 | 10
115 | 14
116 | 19
117 | 14
118 | 21
119 | 15
120 | 13
121 | 18.39
122 | 16
123 | 10
124 | 8
125 | 17.5
126 | 10
127 | 9
128 | 5.2
129 | 6
130 | 5.5
131 | 4
132 | 3
133 | 3
134 | 0
135 | 0
136 | 0
137 | 3.5
138 | 10
139 | 14
140 | 19
141 | 14
142 | 21
143 | 15
144 | 13
145 | 18.39
146 | 16
147 | 10
148 | 8
149 | 17.5
150 | 10
151 | 9
152 | 5.2
153 | 6
154 | 5.5
155 | 4
156 | 3
157 | 3
158 | 0
159 | 0
160 | 0
161 | 3.5
162 | 10
163 | 14
164 | 19
165 | 14
166 | 21
167 | 15
168 | 13
169 | 18.39
170 | 16
171 | 10
172 | 8
173 | 17.5
174 | 10
175 | 9
176 | 5.2
177 | 6
178 | 5.5
179 | 4
180 | 3
181 | 3
182 | 0
183 | 0
184 | 0
185 | 3.5
186 | 10
187 | 14
188 | 19
189 | 14
190 | 21
191 | 15
192 | 13
193 | 18.39
194 | 16
195 | 10
196 | 8
197 | 17.5
198 | 10
199 | 9
200 | 5.2
201 | 6
202 | 5.5
203 | 4
204 | 3
205 | 3
206 | 0
207 | 0
208 | 0
209 | 3.5
210 | 10
211 | 14
212 | 19
213 | 14
214 | 21
215 | 15
216 | 13
217 | 18.39
218 | 16
219 | 10
220 | 8
221 | 17.5
222 | 10
223 | 9
224 | 5.2
225 | 6
226 | 5.5
227 | 4
228 | 3
229 | 3
230 | 0
231 | 0
232 | 0
233 | 3.5
234 | 10
235 | 14
236 | 19
237 | 14
238 | 21
239 | 15
240 | 13
241 | 18.39
242 | 16
243 | 10
244 | 8
245 | 17.5
246 | 10
247 | 9
248 | 5.2
249 | 6
250 | 5.5
251 | 4
252 | 3
253 | 3
254 | 0
255 | 0
256 | 0
257 | 3.5
258 | 10
259 | 14
260 | 19
261 | 14
262 | 21
263 | 15
264 | 13
265 | 18.39
266 | 16
267 | 10
268 | 8
269 | 17.5
270 | 10
271 | 9
272 | 5.2
273 | 6
274 | 5.5
275 | 4
276 | 3
277 | 3
278 | 0
279 | 0
280 | 0
281 | 3.5
282 | 10
283 | 14
284 | 19
285 | 14
286 | 21
287 | 15
288 | 13
289 | 18.39
290 | 16
291 | 10
292 | 8
293 | 17.5
294 | 10
295 | 9
296 | 5.2
297 | 6
298 | 5.5
299 | 4
300 | 3
301 | 3
302 | 0
303 | 0
304 | 0
305 | 3.5
306 | 10
307 | 14
308 | 19
309 | 14
310 | 21
311 | 15
312 | 13
313 | 18.39
314 | 16
315 | 10
316 | 8
317 | 17.5
318 | 10
319 | 9
320 | 5.2
321 | 6
322 | 5.5
323 | 4
324 | 3
325 | 3
326 | 0
327 | 0
328 | 0
329 | 3.5
330 | 10
331 | 14
332 | 19
333 | 14
334 | 21
335 | 15
336 | 13
337 | 18.39
338 | 16
339 | 10
340 | 8
341 | 17.5
342 | 10
343 | 9
344 | 5.2
345 | 6
346 | 5.5
347 | 4
348 | 3
349 | 3
350 | 0
351 | 0
352 | 0
353 | 3.5
354 | 10
355 | 14
356 | 19
357 | 14
358 | 21
359 | 15
360 | 13
361 | 18.39
362 | 16
363 | 10
364 | 8
365 | 17.5
366 | 10
367 | 9
368 | 5.2
369 | 6
370 | 5.5
371 | 4
372 | 3
373 | 3
374 | 0
375 | 0
376 | 0
377 | 3.5
378 | 10
379 | 14
380 | 19
381 | 14
382 | 21
383 | 15
384 | 13
385 | 18.39
386 | 16
387 | 10
388 | 8
389 | 17.5
390 | 10
391 | 9
392 | 5.2
393 | 6
394 | 5.5
395 | 4
396 | 3
397 | 3
398 | 0
399 | 0
400 | 0
401 | 3.5
402 | 10
403 | 14
404 | 19
405 | 14
406 | 21
407 | 15
408 | 13
409 | 18.39
410 | 16
411 | 10
412 | 8
413 | 17.5
414 | 10
415 | 9
416 | 5.2
417 | 6
418 | 5.5
419 | 4
420 | 3
421 | 3
422 | 0
423 | 0
424 | 0
425 | 3.5
426 | 10
427 | 14
428 | 19
429 | 14
430 | 21
431 | 15
432 | 13
433 | 18.39
434 | 16
435 | 10
436 | 8
437 | 17.5
438 | 10
439 | 9
440 | 5.2
441 | 6
442 | 5.5
443 | 4
444 | 3
445 | 3
446 | 0
447 | 0
448 | 0
449 | 3.5
450 | 10
451 | 14
452 | 19
453 | 14
454 | 21
455 | 15
456 | 13
457 | 18.39
458 | 16
459 | 10
460 | 8
461 | 17.5
462 | 10
463 | 9
464 | 5.2
465 | 6
466 | 5.5
467 | 4
468 | 3
469 | 3
470 | 0
471 | 0
472 | 0
473 | 3.5
474 | 10
475 | 14
476 | 19
477 | 14
478 | 21
479 | 15
480 | 13
481 | 18.39
482 | 16
483 | 10
484 | 8
485 | 17.5
486 | 10
487 | 9
488 | 5.2
489 | 6
490 | 5.5
491 | 4
492 | 3
493 | 3
494 | 0
495 | 0
496 | 0
497 | 3.5
498 | 10
499 | 14
500 | 19
501 | 14
502 | 21
503 | 15
504 | 13
505 | 18.39
506 | 16
507 | 10
508 | 8
509 | 17.5
510 | 10
511 | 9
512 | 5.2
513 | 6
514 | 5.5
515 | 4
516 | 3
517 | 3
518 | 0
519 | 0
520 | 0
521 | 3.5
522 | 10
523 | 14
524 | 19
525 | 14
526 | 21
527 | 15
528 | 13
529 | 18.39
530 | 16
531 | 10
532 | 8
533 | 17.5
534 | 10
535 | 9
536 | 5.2
537 | 6
538 | 5.5
539 | 4
540 | 3
541 | 3
542 | 0
543 | 0
544 | 0
545 | 3.5
546 | 10
547 | 14
548 | 19
549 | 14
550 | 21
551 | 15
552 | 13
553 | 18.39
554 | 16
555 | 10
556 | 8
557 | 17.5
558 | 10
559 | 9
560 | 5.2
561 | 6
562 | 5.5
563 | 4
564 | 3
565 | 3
566 | 0
567 | 0
568 | 0
569 | 3.5
570 | 10
571 | 14
572 | 19
573 | 14
574 | 21
575 | 15
576 | 13
577 | 18.39
578 | 16
579 | 10
580 | 8
581 | 17.5
582 | 10
583 | 9
584 | 5.2
585 | 6
586 | 5.5
587 | 4
588 | 3
589 | 3
590 | 0
591 | 0
592 | 0
593 | 3.5
594 | 10
595 | 14
596 | 19
597 | 14
598 | 21
599 | 15
600 | 13
601 | 18.39
602 | 16
603 | 10
604 | 8
605 | 17.5
606 | 10
607 | 9
608 | 5.2
609 | 6
610 | 5.5
611 | 4
612 | 3
613 | 3
614 | 0
615 | 0
616 | 0
617 | 3.5
618 | 10
619 | 14
620 | 19
621 | 14
622 | 21
623 | 15
624 | 13
625 | 18.39
626 | 16
627 | 10
628 | 8
629 | 17.5
630 | 10
631 | 9
632 | 5.2
633 | 6
634 | 5.5
635 | 4
636 | 3
637 | 3
638 | 0
639 | 0
640 | 0
641 | 3.5
642 | 10
643 | 14
644 | 19
645 | 14
646 | 21
647 | 15
648 | 13
649 | 18.39
650 | 16
651 | 10
652 | 8
653 | 17.5
654 | 10
655 | 9
656 | 5.2
657 | 6
658 | 5.5
659 | 4
660 | 3
661 | 3
662 | 0
663 | 0
664 | 0
665 | 3.5
666 | 10
667 | 14
668 | 19
669 | 14
670 | 21
671 | 15
672 | 13
673 | 18.39
674 | 16
675 | 10
676 | 8
677 | 17.5
678 | 10
679 | 9
680 | 5.2
681 | 6
682 | 5.5
683 | 4
684 | 3
685 | 3
686 | 0
687 | 0
688 | 0
689 | 3.5
690 | 10
691 | 14
692 | 19
693 | 14
694 | 21
695 | 15
696 | 13
697 | 18.39
698 | 16
699 | 10
700 | 8
701 | 17.5
702 | 10
703 | 9
704 | 5.2
705 | 6
706 | 5.5
707 | 4
708 | 3
709 | 3
710 | 0
711 | 0
712 | 0
713 | 3.5
714 | 10
715 | 14
716 | 19
717 | 14
718 | 21
719 | 15
720 | 13

## Branch
| Name | from | to | R | X | Flowlimit | RATEB | RATEC | GI | BI | GJ | BJ | Length | Usage Charge | Tap | Angle | Area | Zone | Owner
l1 | Linea 1 | b1 | b2 | 0.1 | 0.4 | 100 | 200 | 200 | 0 | 0 | 0 | 0
l2 | Linea 2 | b2 | b3 | 0.05 | 0.2 | 100 | 100 | 100 | 0 | 0 | 0 | 0
l3 | Linea 3 | b1 | b4 | 0.15 | 0.6 | 80 | 100 | 100 | 0 | 0 | 0 | 0
l4 | Linea 4 | b2 | b4 | 0.1 | 0.4 | 100 | 100 | 100 | 0 | 0 | 0 | 0
l5 | Linea 5 | b4 | b5 | 0.16 | 0.63 | 75 | 100 | 100 | 0 | 0 | 0 | 0
l6 | Linea 6 | b5 | b6 | 0.15 | 0.61 | 78 | 100 | 100 | 0 | 0 | 0 | 0
l7 | Linea 7 | b3 | b6 | 0.12 | 0.48 | 100 | 100 | 100 | 0 | 0 | 0 | 0
Note on C1: Zuyi Li: From bus number
Note on D1: Zuyi Li: To bus number
Note on F1: Zuyi Li: Reactance (DEAFULT: must input; p.u.)
Note on G1: Zuyi Li: Flow limit A (DEFAULT: 0; MVA)
Note on H1: Zuyi Li: Flow limit B (DEFAULT: 0; MVA)
Note on I1: Zuyi Li: Flow limit C (DEFAULT: 0; MVA)
Note on J1: Zuyi Li: Line shunt conductance at from bus side (DEFAULT: 0; p.u.)
Note on K1: Zuyi Li: Line shunt susceptance at from bus side (DEFAULT: 0; p.u.)
Note on L1: Zuyi Li: Line shunt conductance at to bus side (DEFAULT: 0; p.u.)
Note on M1: Zuyi Li: Line shunt susceptance at to bus side (DEFAULT: 0; p.u.)
Note on N1: Zuyi Li: Branch length (mile) (DEFAULT: 0)
Note on O1: Zuyi Li: Transmission usage charge ($/MW/mile)
Note on P1: Zuyi Li: Tap (DEFAULT: 0; p.u.)
Note on Q1: Zuyi Li: Phase shifter angle (DEFAULT: 0; degree)
Note on R1: Zuyi Li: Area number (DEFAULT: 1)
Note on S1: Zuyi Li: Zone number (DEFAULT: 1)
Note on T1: Zuyi Li: Owner number (DEFAULT: 1)

## Branch_map
| b1 | b2 | b3 | b4 | b5 | b6
l1 | 1 | -1 | 0 | 0 | 0 | 0
l2 | 0 | 1 | -1 | 0 | 0 | 0
l3 | 1 | 0 | 0 | -1 | 0 | 0
l4 | 0 | 1 | 0 | -1 | 0 | 0
l5 | 0 | 0 | 0 | 1 | -1 | 0
l6 | 0 | 0 | 0 | 0 | 1 | -1
l7 | 0 | 0 | 1 | 0 | 0 | -1

## load
| b1 | b2 | b3 | b4 | b5 | b6
1 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
2 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
3 | 0 | 0 | 55 | 55 | 55 | 0
4 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
5 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
6 | 0 | 0 | 55 | 55 | 55 | 0
7 | 0 | 0 | 60 | 60 | 60 | 0
8 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
9 | 0 | 0 | 65 | 65 | 65 | 0
10 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
11 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
12 | 0 | 0 | 80 | 80 | 80 | 0
13 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
14 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
15 | 0 | 0 | 85 | 85 | 85 | 0
16 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
17 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
18 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
19 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
20 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
21 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
22 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
23 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
24 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
25 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
26 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
27 | 0 | 0 | 55 | 55 | 55 | 0
28 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
29 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
30 | 0 | 0 | 55 | 55 | 55 | 0
31 | 0 | 0 | 60 | 60 | 60 | 0
32 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
33 | 0 | 0 | 65 | 65 | 65 | 0
34 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
35 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
36 | 0 | 0 | 80 | 80 | 80 | 0
37 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
38 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
39 | 0 | 0 | 85 | 85 | 85 | 0
40 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
41 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
42 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
43 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
44 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
45 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
46 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
47 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
48 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
49 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
50 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
51 | 0 | 0 | 55 | 55 | 55 | 0
52 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
53 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
54 | 0 | 0 | 55 | 55 | 55 | 0
55 | 0 | 0 | 60 | 60 | 60 | 0
56 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
57 | 0 | 0 | 65 | 65 | 65 | 0
58 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
59 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
60 | 0 | 0 | 80 | 80 | 80 | 0
61 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
62 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
63 | 0 | 0 | 85 | 85 | 85 | 0
64 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
65 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
66 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
67 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
68 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
69 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
70 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
71 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
72 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
73 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
74 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
75 | 0 | 0 | 55 | 55 | 55 | 0
76 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
77 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
78 | 0 | 0 | 55 | 55 | 55 | 0
79 | 0 | 0 | 60 | 60 | 60 | 0
80 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
81 | 0 | 0 | 65 | 65 | 65 | 0
82 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
83 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
84 | 0 | 0 | 80 | 80 | 80 | 0
85 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
86 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
87 | 0 | 0 | 85 | 85 | 85 | 0
88 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
89 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
90 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
91 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
92 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
93 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
94 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
95 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
96 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
97 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
98 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
99 | 0 | 0 | 55 | 55 | 55 | 0
100 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
101 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
102 | 0 | 0 | 55 | 55 | 55 | 0
103 | 0 | 0 | 60 | 60 | 60 | 0
104 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
105 | 0 | 0 | 65 | 65 | 65 | 0
106 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
107 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
108 | 0 | 0 | 80 | 80 | 80 | 0
109 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
110 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
111 | 0 | 0 | 85 | 85 | 85 | 0
112 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
113 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
114 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
115 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
116 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
117 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
118 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
119 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
120 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
121 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
122 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
123 | 0 | 0 | 55 | 55 | 55 | 0
124 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
125 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
126 | 0 | 0 | 55 | 55 | 55 | 0
127 | 0 | 0 | 60 | 60 | 60 | 0
128 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
129 | 0 | 0 | 65 | 65 | 65 | 0
130 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
131 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
132 | 0 | 0 | 80 | 80 | 80 | 0
133 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
134 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
135 | 0 | 0 | 85 | 85 | 85 | 0
136 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
137 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
138 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
139 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
140 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
141 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
142 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
143 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
144 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
145 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
146 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
147 | 0 | 0 | 55 | 55 | 55 | 0
148 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
149 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
150 | 0 | 0 | 55 | 55 | 55 | 0
151 | 0 | 0 | 60 | 60 | 60 | 0
152 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
153 | 0 | 0 | 65 | 65 | 65 | 0
154 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
155 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
156 | 0 | 0 | 80 | 80 | 80 | 0
157 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
158 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
159 | 0 | 0 | 85 | 85 | 85 | 0
160 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
161 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
162 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
163 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
164 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
165 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
166 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
167 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
168 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
169 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
170 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
171 | 0 | 0 | 55 | 55 | 55 | 0
172 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
173 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
174 | 0 | 0 | 55 | 55 | 55 | 0
175 | 0 | 0 | 60 | 60 | 60 | 0
176 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
177 | 0 | 0 | 65 | 65 | 65 | 0
178 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
179 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
180 | 0 | 0 | 80 | 80 | 80 | 0
181 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
182 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
183 | 0 | 0 | 85 | 85 | 85 | 0
184 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
185 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
186 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
187 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
188 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
189 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
190 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
191 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
192 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
193 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
194 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
195 | 0 | 0 | 55 | 55 | 55 | 0
196 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
197 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
198 | 0 | 0 | 55 | 55 | 55 | 0
199 | 0 | 0 | 60 | 60 | 60 | 0
200 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
201 | 0 | 0 | 65 | 65 | 65 | 0
202 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
203 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
204 | 0 | 0 | 80 | 80 | 80 | 0
205 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
206 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
207 | 0 | 0 | 85 | 85 | 85 | 0
208 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
209 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
210 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
211 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
212 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
213 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
214 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
215 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
216 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
217 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
218 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
219 | 0 | 0 | 55 | 55 | 55 | 0
220 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
221 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
222 | 0 | 0 | 55 | 55 | 55 | 0
223 | 0 | 0 | 60 | 60 | 60 | 0
224 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
225 | 0 | 0 | 65 | 65 | 65 | 0
226 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
227 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
228 | 0 | 0 | 80 | 80 | 80 | 0
229 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
230 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
231 | 0 | 0 | 85 | 85 | 85 | 0
232 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
233 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
234 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
235 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
236 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
237 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
238 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
239 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
240 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
241 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
242 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
243 | 0 | 0 | 55 | 55 | 55 | 0
244 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
245 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
246 | 0 | 0 | 55 | 55 | 55 | 0
247 | 0 | 0 | 60 | 60 | 60 | 0
248 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
249 | 0 | 0 | 65 | 65 | 65 | 0
250 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
251 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
252 | 0 | 0 | 80 | 80 | 80 | 0
253 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
254 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
255 | 0 | 0 | 85 | 85 | 85 | 0
256 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
257 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
258 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
259 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
260 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
261 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
262 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
263 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
264 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
265 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
266 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
267 | 0 | 0 | 55 | 55 | 55 | 0
268 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
269 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
270 | 0 | 0 | 55 | 55 | 55 | 0
271 | 0 | 0 | 60 | 60 | 60 | 0
272 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
273 | 0 | 0 | 65 | 65 | 65 | 0
274 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
275 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
276 | 0 | 0 | 80 | 80 | 80 | 0
277 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
278 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
279 | 0 | 0 | 85 | 85 | 85 | 0
280 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
281 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
282 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
283 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
284 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
285 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
286 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
287 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
288 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
289 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
290 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
291 | 0 | 0 | 55 | 55 | 55 | 0
292 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
293 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
294 | 0 | 0 | 55 | 55 | 55 | 0
295 | 0 | 0 | 60 | 60 | 60 | 0
296 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
297 | 0 | 0 | 65 | 65 | 65 | 0
298 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
299 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
300 | 0 | 0 | 80 | 80 | 80 | 0
301 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
302 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
303 | 0 | 0 | 85 | 85 | 85 | 0
304 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
305 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
306 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
307 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
308 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
309 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
310 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
311 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
312 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
313 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
314 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
315 | 0 | 0 | 55 | 55 | 55 | 0
316 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
317 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
318 | 0 | 0 | 55 | 55 | 55 | 0
319 | 0 | 0 | 60 | 60 | 60 | 0
320 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
321 | 0 | 0 | 65 | 65 | 65 | 0
322 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
323 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
324 | 0 | 0 | 80 | 80 | 80 | 0
325 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
326 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
327 | 0 | 0 | 85 | 85 | 85 | 0
328 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
329 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
330 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
331 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
332 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
333 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
334 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
335 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
336 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
337 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
338 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
339 | 0 | 0 | 55 | 55 | 55 | 0
340 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
341 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
342 | 0 | 0 | 55 | 55 | 55 | 0
343 | 0 | 0 | 60 | 60 | 60 | 0
344 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
345 | 0 | 0 | 65 | 65 | 65 | 0
346 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
347 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
348 | 0 | 0 | 80 | 80 | 80 | 0
349 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
350 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
351 | 0 | 0 | 85 | 85 | 85 | 0
352 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
353 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
354 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
355 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
356 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
357 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
358 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
359 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
360 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
361 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
362 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
363 | 0 | 0 | 55 | 55 | 55 | 0
364 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
365 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
366 | 0 | 0 | 55 | 55 | 55 | 0
367 | 0 | 0 | 60 | 60 | 60 | 0
368 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
369 | 0 | 0 | 65 | 65 | 65 | 0
370 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
371 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
372 | 0 | 0 | 80 | 80 | 80 | 0
373 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
374 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
375 | 0 | 0 | 85 | 85 | 85 | 0
376 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
377 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
378 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
379 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
380 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
381 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
382 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
383 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
384 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
385 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
386 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
387 | 0 | 0 | 55 | 55 | 55 | 0
388 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
389 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
390 | 0 | 0 | 55 | 55 | 55 | 0
391 | 0 | 0 | 60 | 60 | 60 | 0
392 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
393 | 0 | 0 | 65 | 65 | 65 | 0
394 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
395 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
396 | 0 | 0 | 80 | 80 | 80 | 0
397 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
398 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
399 | 0 | 0 | 85 | 85 | 85 | 0
400 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
401 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
402 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
403 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
404 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
405 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
406 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
407 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
408 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
409 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
410 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
411 | 0 | 0 | 55 | 55 | 55 | 0
412 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
413 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
414 | 0 | 0 | 55 | 55 | 55 | 0
415 | 0 | 0 | 60 | 60 | 60 | 0
416 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
417 | 0 | 0 | 65 | 65 | 65 | 0
418 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
419 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
420 | 0 | 0 | 80 | 80 | 80 | 0
421 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
422 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
423 | 0 | 0 | 85 | 85 | 85 | 0
424 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
425 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
426 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
427 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
428 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
429 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
430 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
431 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
432 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
433 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
434 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
435 | 0 | 0 | 55 | 55 | 55 | 0
436 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
437 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
438 | 0 | 0 | 55 | 55 | 55 | 0
439 | 0 | 0 | 60 | 60 | 60 | 0
440 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
441 | 0 | 0 | 65 | 65 | 65 | 0
442 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
443 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
444 | 0 | 0 | 80 | 80 | 80 | 0
445 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
446 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
447 | 0 | 0 | 85 | 85 | 85 | 0
448 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
449 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
450 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
451 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
452 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
453 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
454 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
455 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
456 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
457 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
458 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
459 | 0 | 0 | 55 | 55 | 55 | 0
460 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
461 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
462 | 0 | 0 | 55 | 55 | 55 | 0
463 | 0 | 0 | 60 | 60 | 60 | 0
464 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
465 | 0 | 0 | 65 | 65 | 65 | 0
466 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
467 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
468 | 0 | 0 | 80 | 80 | 80 | 0
469 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
470 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
471 | 0 | 0 | 85 | 85 | 85 | 0
472 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
473 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
474 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
475 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
476 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
477 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
478 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
479 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
480 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
481 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
482 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
483 | 0 | 0 | 55 | 55 | 55 | 0
484 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
485 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
486 | 0 | 0 | 55 | 55 | 55 | 0
487 | 0 | 0 | 60 | 60 | 60 | 0
488 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
489 | 0 | 0 | 65 | 65 | 65 | 0
490 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
491 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
492 | 0 | 0 | 80 | 80 | 80 | 0
493 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
494 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
495 | 0 | 0 | 85 | 85 | 85 | 0
496 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
497 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
498 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
499 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
500 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
501 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
502 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
503 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
504 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
505 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
506 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
507 | 0 | 0 | 55 | 55 | 55 | 0
508 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
509 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
510 | 0 | 0 | 55 | 55 | 55 | 0
511 | 0 | 0 | 60 | 60 | 60 | 0
512 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
513 | 0 | 0 | 65 | 65 | 65 | 0
514 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
515 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
516 | 0 | 0 | 80 | 80 | 80 | 0
517 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
518 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
519 | 0 | 0 | 85 | 85 | 85 | 0
520 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
521 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
522 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
523 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
524 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
525 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
526 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
527 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
528 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
529 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
530 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
531 | 0 | 0 | 55 | 55 | 55 | 0
532 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
533 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
534 | 0 | 0 | 55 | 55 | 55 | 0
535 | 0 | 0 | 60 | 60 | 60 | 0
536 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
537 | 0 | 0 | 65 | 65 | 65 | 0
538 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
539 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
540 | 0 | 0 | 80 | 80 | 80 | 0
541 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
542 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
543 | 0 | 0 | 85 | 85 | 85 | 0
544 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
545 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
546 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
547 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
548 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
549 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
550 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
551 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
552 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
553 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
554 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
555 | 0 | 0 | 55 | 55 | 55 | 0
556 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
557 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
558 | 0 | 0 | 55 | 55 | 55 | 0
559 | 0 | 0 | 60 | 60 | 60 | 0
560 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
561 | 0 | 0 | 65 | 65 | 65 | 0
562 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
563 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
564 | 0 | 0 | 80 | 80 | 80 | 0
565 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
566 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
567 | 0 | 0 | 85 | 85 | 85 | 0
568 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
569 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
570 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
571 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
572 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
573 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
574 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
575 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
576 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
577 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
578 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
579 | 0 | 0 | 55 | 55 | 55 | 0
580 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
581 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
582 | 0 | 0 | 55 | 55 | 55 | 0
583 | 0 | 0 | 60 | 60 | 60 | 0
584 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
585 | 0 | 0 | 65 | 65 | 65 | 0
586 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
587 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
588 | 0 | 0 | 80 | 80 | 80 | 0
589 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
590 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
591 | 0 | 0 | 85 | 85 | 85 | 0
592 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
593 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
594 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
595 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
596 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
597 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
598 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
599 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
600 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
601 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
602 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
603 | 0 | 0 | 55 | 55 | 55 | 0
604 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
605 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
606 | 0 | 0 | 55 | 55 | 55 | 0
607 | 0 | 0 | 60 | 60 | 60 | 0
608 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
609 | 0 | 0 | 65 | 65 | 65 | 0
610 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
611 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
612 | 0 | 0 | 80 | 80 | 80 | 0
613 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
614 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
615 | 0 | 0 | 85 | 85 | 85 | 0
616 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
617 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
618 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
619 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
620 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
621 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
622 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
623 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
624 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
625 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
626 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
627 | 0 | 0 | 55 | 55 | 55 | 0
628 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
629 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
630 | 0 | 0 | 55 | 55 | 55 | 0
631 | 0 | 0 | 60 | 60 | 60 | 0
632 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
633 | 0 | 0 | 65 | 65 | 65 | 0
634 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
635 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
636 | 0 | 0 | 80 | 80 | 80 | 0
637 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
638 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
639 | 0 | 0 | 85 | 85 | 85 | 0
640 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
641 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
642 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
643 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
644 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
645 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
646 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
647 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
648 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
649 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
650 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
651 | 0 | 0 | 55 | 55 | 55 | 0
652 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
653 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
654 | 0 | 0 | 55 | 55 | 55 | 0
655 | 0 | 0 | 60 | 60 | 60 | 0
656 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
657 | 0 | 0 | 65 | 65 | 65 | 0
658 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
659 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
660 | 0 | 0 | 80 | 80 | 80 | 0
661 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
662 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
663 | 0 | 0 | 85 | 85 | 85 | 0
664 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
665 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
666 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
667 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
668 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
669 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
670 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
671 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
672 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
673 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
674 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
675 | 0 | 0 | 55 | 55 | 55 | 0
676 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
677 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
678 | 0 | 0 | 55 | 55 | 55 | 0
679 | 0 | 0 | 60 | 60 | 60 | 0
680 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
681 | 0 | 0 | 65 | 65 | 65 | 0
682 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
683 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
684 | 0 | 0 | 80 | 80 | 80 | 0
685 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
686 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
687 | 0 | 0 | 85 | 85 | 85 | 0
688 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
689 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
690 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
691 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
692 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
693 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
694 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
695 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
696 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
697 | 0 | 0 | 59.5867 | 59.5867 | 59.5867 | 0
698 | 0 | 0 | 56.6667 | 56.6667 | 56.6667 | 0
699 | 0 | 0 | 55 | 55 | 55 | 0
700 | 0 | 0 | 51.6667 | 51.6667 | 51.6667 | 0
701 | 0 | 0 | 53.3333 | 53.3333 | 53.3333 | 0
702 | 0 | 0 | 55 | 55 | 55 | 0
703 | 0 | 0 | 60 | 60 | 60 | 0
704 | 0 | 0 | 60.6667 | 60.6667 | 60.6667 | 0
705 | 0 | 0 | 65 | 65 | 65 | 0
706 | 0 | 0 | 71.6667 | 71.6667 | 71.6667 | 0
707 | 0 | 0 | 78.3333 | 78.3333 | 78.3333 | 0
708 | 0 | 0 | 80 | 80 | 80 | 0
709 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
710 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
711 | 0 | 0 | 85 | 85 | 85 | 0
712 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
713 | 0 | 0 | 86.6667 | 86.6667 | 86.6667 | 0
714 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
715 | 0 | 0 | 83.3333 | 83.3333 | 83.3333 | 0
716 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
717 | 0 | 0 | 81.6667 | 81.6667 | 81.6667 | 0
718 | 0 | 0 | 80.6667 | 80.6667 | 80.6667 | 0
719 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0
720 | 0 | 0 | 63.3333 | 63.3333 | 63.3333 | 0

## Reserve
R1
1 | 50
2 | 50
3 | 50
4 | 50
5 | 50
6 | 50
7 | 50
8 | 50
9 | 50
10 | 50
11 | 50
12 | 50
13 | 50
14 | 50
15 | 50
16 | 50
17 | 50
18 | 50
19 | 50
20 | 50
21 | 50
22 | 50
23 | 50
24 | 50

## ESS_Unit
| C_Potencia | C_Energia | n_ch_eff | n_dc_eff | Self_discharge | SOC_min | SOC_ini | CB | N_ciclos | C_Rba
E1 | 25 | 25 | 0.95 | 0.95 | 0.00625 | 0.1 | 0.1 | 0 | 6000 | 50000
Note on I1: Usuario: Cost of ESS charge [$/MWh]
Note on K1: Usuario: Costo de reemplazo de baterias [$/MWh]

## ESS_map
| b1 | b2 | b3 | b4 | b5 | b6
E1 | 0 | 0 | 0 | 1 | 0 | 0

## ESS_Energy_price
CB_MWh
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0

## C_DR_load
| b1 | b2 | b3 | b4 | b5 | b6
1 | 0 | 0 | 10 | 10 | 10 | 0
2 | 0 | 0 | 12 | 13 | 12 | 0
3 | 0 | 0 | 14 | 15 | 18 | 0
4 | 0 | 0 | 14 | 15 | 18 | 0
5 | 0 | 0 | 15 | 15 | 18 | 0
6 | 0 | 0 | 15 | 15 | 18 | 0
7 | 0 | 0 | 15 | 15 | 18 | 0
8 | 0 | 0 | 16 | 17 | 20 | 0
9 | 0 | 0 | 16 | 17 | 20 | 0
10 | 0 | 0 | 16 | 17 | 20 | 0
11 | 0 | 0 | 16 | 17 | 20 | 0
12 | 0 | 0 | 16 | 17 | 20 | 0
13 | 0 | 0 | 16 | 17 | 20 | 0
14 | 0 | 0 | 16 | 17 | 20 | 0
15 | 0 | 0 | 16 | 17 | 20 | 0
16 | 0 | 0 | 16 | 17 | 20 | 0
17 | 0 | 0 | 16 | 17 | 20 | 0
18 | 0 | 0 | 16 | 17 | 20 | 0
19 | 0 | 0 | 16 | 17 | 20 | 0
20 | 0 | 0 | 16 | 17 | 20 | 0
21 | 0 | 0 | 16 | 17 | 20 | 0
22 | 0 | 0 | 15 | 15 | 20 | 0
23 | 0 | 0 | 14 | 13 | 18 | 0
24 | 0 | 0 | 14 | 15 | 18 | 0

## PDR
| b1 | b2 | b3 | b4 | b5 | b6
1 | 0 | 0 | 0.2 | 0.1 | 0.1 | 0
2 | 0 | 0 | 0.2 | 0.1 | 0.1 | 0
3 | 0 | 0 | 0.2 | 0.1 | 0.1 | 0
4 | 0 | 0 | 0.2 | 0.1 | 0.1 | 0
5 | 0 | 0 | 0.2 | 0.1 | 0.1 | 0
6 | 0 | 0 | 0.2 | 0.1 | 0.1 | 0
7 | 0 | 0 | 0.1 | 0.2 | 0.2 | 0
8 | 0 | 0 | 0.1 | 0.2 | 0.2 | 0
9 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
10 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
11 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
12 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
13 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
14 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
15 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
16 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
17 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
18 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
19 | 0 | 0 | 0.2 | 0.15 | 0.2 | 0
20 | 0 | 0 | 0.2 | 0.15 | 0.1 | 0
21 | 0 | 0 | 0.2 | 0.15 | 0.2 | 0
22 | 0 | 0 | 0.2 | 0.15 | 0.2 | 0
23 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0
24 | 0 | 0 | 0.2 | 0.1 | 0.1 | 0